Updated cost estimate for wire chamber construction (4000 Straws).

Assumptions:

- Building 4000 Straws.

- Individual gas supply per each chamber.

- Table is designed and elsewhere, Chamber frames are desgined and built at HUJI.

- Using 1.3 $/euro.

Straws (based on real quotes received for tubes, wire, and on estimates for others):

| Cost per Straw | (In Euro) |
| --- | --- |
| Straw | 5 |
| Wire | 1 |
| Pins/ABS/Springs | 44 |
| Decoupling Caps | 2 |
| PCBs etc | 8 |
| Plumbing | 5 |
| Total/Straw | 65 |
| 4000 Straws | 260000 |

Gas Components (based on quotes – in Euros):

| Mass Flow Controller | 1260 |
| --- | --- |
| Mass Meter | 1576.8 |
| Pressure Meter | 2196 |
| Connectors | 500 |
| Total/Set | 5532.8 |
| Total 5 sets (chambers and mixing) | 27664 |

Frames (estimates - $):

| Design | 3000 |
| --- | --- |
| Mechanical Construction | 5000 |
| Total Frames | 8000 |

Manpower ($):

| 2 Grad students for 2 years | 120000 |
| --- | --- |
| ½ Tech for 2 years | 60000 |
| Total Manpower | 180000 |

Clean room components: 20000$

Travel for commissioning: 11600$

Shipping to PSI: 6000$

Overhead (25% overhead on Manpower): 45000$

Total Requested: 480280$

Note that this is a reduction of ~75k$ from the original request.

The straw components are slightly more expensive (we are both making a bit more than planned and buying in smaller quantities than PANDA, we could go to a smaller number of spares, say 3500 and save another 25K$).

The increase in the straw costs are more than offset by the decrease in the cost of the gas components (I’m getting a good deal) and the large reduction in cost on mechanical design and table construction.