MUSE Basis of Estimate

Element WBS #2

I.  General Information

Task Name:  Fiber and PMTs

Unique ID Number

Date of Estimate: 3/20/14 (last update)

Estimate Generator: Guy, Piazetsky, Ransome

Cost Category:

X M&S

SWF

Comments:

Vendor Quote Number if Applicable:

Drawing Reference Number or Attachment:

Costing Method:	 Quotes for fiber and PMTs

Total Task Cost: $34693 (w/o contingency)

Total Contingency: $3470

II.  Cost Estimate Breakdown

Cost of each element, along with justification

Assume 103 Yen = $1

Scintillating Fiber: 535,200 Yen = $5196 (two types quoted, equal price, no decision yet on which) to use.

Clear Fiber 535,200 Yen = $5196

Total fiber $10,392  F&A (15%) $1559   Total cost $11,951

PMT 292800 Yen each = $2843

8 PMT total $22,742   (no F&A)

III.  Contingency and risk analysis

Based on quotes and delivery times, this is a low technical/cost risk.  We use a larger contingency of 10% to account for possible currency fluctuations.